#1

CMS-1105

Tumescent Hand Pump Set

Bill of Materials							Quantity

T0163 .114” x .159”		 				108” length (1)

M0044 White slide clamp 					1

M0200 Universal Spike 						1

A0240 Panneri-Cohesive tape 					1

M0678 Control Syringe with spring 				1

M0517 Bulk dual check valve with female luer slip 		1

A0050 8*12 Tyek Chevron pouch 				1

10 Sets Per Case

#2

CMS-150

Coiled Injection Line

Bill of Materials 						       			 Quantity

T0049-C 		72” coiled line with connectors (0.60” x .122”)		               1

A0049			4*9 pouch with polysleeve back 				1

100 lines per case

#3

CMS-1212

Single spike tumescent set without chamber

Bill of Materials 								Quantity

1212NSA (Standard IV tubing with Silicone Pump-header)			1

A0045 		10 x 15 pouch 							1

25 sets per case

#4

955V

Skytron Urology Drainage bag

Bill of Materials							Quantity

Skytron Operating Table Drainbag				        1

20 drain bags per case

#5

954P

GE/OEC 2600/2800 Drainage Bag

20 drain bags per case

#6

CMS-151

Coiled Injection Line

Bill of Materials 						 			     Quantity

T0049-C 		72” coiled line with connectors (.060” x .122”)			             1

A0049			4*9 pouch with polysleeve back 				             1

100 lines per case

#7

CMS-1228

Bubble (Transition) Tubing

Bill of Materials 							Quantity

T0186 Bubble tubing (Transition)					108” length (1)

A0045 								10 x 15 Chevron peel pouch (1)

10 sets per case

#8

CMS-6025

Soak em’ up pad

Bill of Materials 								Quantity

A2939 		32” x 36” Absorbent pad 					1

A0045 		10 x 15 Chevron peel pouch 					1

25 per case

#9

CMS-3628BB

Band Bag

Bill of materials 							Quantity

A0712 		Bandbag 36 x 28				1

A0050  		8 x 12 Tyvek Chevron Pouch 			1

50 Band bags per case

#10

CMS-655

Wide Foot Switch Cover

Bill of Materials 						      Quantity

A0307 Bag, Draw cord 24” x 19” 			               	1

A0027 6 x 10 Poly Bag 						               1

100 bags per case

#11

CMS-1637

Sharps Collection System

Bill of Materials 							Quantity

1637 NS Cup with charcoal foam					     1

A0044 6 x 10 Tyvek Chevron Pouch 				 	     1

25 cups per case

#12

CMS-510

Stop ‘N FLO Collection Container

Bill of Materials							                	Quantity

M0682 			15 Liter collection container 				    1

M0683			Spigot assembly and cap 				    1

10 containers per case

CMS-515

Same set with solidifying powder

#13

CMS-851

Fistula/PICC drape

Bill of Materials 								Quantity

A0319		32 x 28 Fenesrated Absorbent Drape 				    1

A0094 		Quick-Tear Header Bag 						    1

A0142		Medical CSR-wrap   30” x 30”					    1

10 drapes per case

#14

CMS 951 V-8

Liebel Flarsheim Table Drainbag with 8mm Adapter

Bill of Materials									Quantity

CMS-951V Drainbag 							1

CMS-608 8mm adapter plug 							1

A1931 	12 x 12      2-vented clear LD poly bag					1

20 drain bags per case

#15

CMS-1622

Coiled Y-connector pack

Bill of Materials 							      Quantity

M0077 		Universal Cap, White 						1

M0071 		Universal Cap, Blue 						1

T0195-CH 	Y shaped connector tube (Standard IV Tubing)			1 (98.42” length)

A0044 		Tyvek Chevron Pouch 						1

50 sets per case

#16

CMS-1335

Luer Slip Extension Line

Bill of Materials 						Quantity

T0047 			.060” x .122” 				20” length (1)

M0295			Male L Slip for .125 Tube		1

M0081			Female Luer Lock 			1

A0049 			Pouch 					1

#17

CMS-999

Universal Drainbag

Bill of Materials								Quantity

Vinyl-Acetate Drainbag							1

20 per case

#18

CMS-1211

Single-Spike Infiltration Tubing w/ Drip Chamber

Bill of Materials 						        Quantity

1211-NSA (Standard IV Tubing)						1

Silicone Pump-header							1

Thumb Clamp								1

10 x 15 pouch 								1

25 per case

#19

CMS-1222

Custom Flush and Disposal System

Bill of materials 								          Quantity

1500 ML waste bag -printed 							1

Male luer lock cap vented 							1

High crack dual check valve 							1

Universal spike vented L86							1

White mini-pinch clamp								1

Galt tubing .158 x .218								144” (1)

Eastern Commodities 5” x 4” sleeve						1

100 per case

#20

CMS-1113

Contrast Transfer Set

Bill of Materials 								Quantity

.114” x .159” Tubing 								19”

Universal Spike Vented L86							1

Swabable valve with male luer 							1

Female luer lock connector .160” ID						1

6” x 10” Tyvek Chevron Pouch 							1

100 per case

#21

CMS-608

6mm Adapter plugs

Bill of Materials 						Quantity

8mm reducer plug 22mm OD x 8mm OD				      1

50 per case

# 22

CMS-1213

Large Bore Infiltration Tubing

Bill of Materials								Quantity

Infiltration Tube (.201” x .380”)						    1

Silicone Pump-header							    1

Bag Spike							                  1

Thumb Clamp								    1